DASHBOARD PRD + TRD  v2

Trustworthy AI Framework for Electrical Metrology

Multi-instrument · GNN · SHACL · SOSA · GUM-Compatible UQ

Build specification for Antigravity IDE  |  Project: blackbox ai - npl

Context for Antigravity — read before writing any code

This is a complete build spec for an AI agent in Antigravity IDE. The Python research pipeline is already built and tested. BUILD ONLY the Streamlit frontend (dashboard/app.py) that reads from the outputs/ CSV files. Never modify src/ or data/.

Project summary

- Intern: Dia Vats  |  Supervisor: Dr. Paramita Guha  |  CSIR-NPL, New Delhi

- Research paper: Development of Trustworthy AI Models/Framework for Electrical Metrology

- Pipeline: 9 Python scripts (01–08 + run_all.py) producing 10 CSV/TTL output files

- 4 instrument types calibrated at CSIR-NPL: AC Current Source, Clamp Meter, HV Probe, HV Breakdown Tester

- AI methods used: polynomial regression, jackknife+ conformal prediction, SHAP XAI, GCN autoencoder (GNN), tabular autoencoder, multi-task neural network

- KG: 799 RDF triples, OWL/RDF + SOSA + PROV-O + QUDT + custom EMO ontology

Folder structure — VS Code project

VS Code folder name (exact): blackbox ai - npl

blackbox ai - npl/

├── data/certificates/      ← PDF/ODT calibration certificates (input)

├── outputs/                ← ALL FILES THE DASHBOARD READS

│   ├── calibration_data.csv        ← primary ML dataset (31 pts, 4 instruments)

│   ├── calibration_data_all.csv    ← all 6 instruments including Group B

│   ├── electrical_metrology.ttl    ← KG (799 triples)

│   ├── shacl_validation_report.txt ← SHACL validation output

│   ├── ml_results.csv              ← predictions + conformal intervals

│   ├── gum_comparison.csv          ← GUM vs AI UQ

│   ├── shap_values.csv             ← SHAP attributions

│   ├── gnn_results.csv             ← GNN anomaly scores

│   ├── autoencoder_results.csv     ← Autoencoder anomaly scores

│   ├── multitask_results.csv       ← Multi-task predictions

│   └── plots/                      ← pre-generated matplotlib figures

├── src/                    ← Python pipeline (do not modify)

└── dashboard/              ← CREATE THIS FOLDER

├── app.py              ← CREATE THIS FILE (main Streamlit app)

└── .streamlit/config.toml  ← CREATE: sets dark mode as default

Visual design specification

Theme — dark/light toggle, defaults to dark

Streamlit has built-in dark/light support. Create .streamlit/config.toml with theme defaulting to dark. Add a toggle button in sidebar to switch. This is the 'creative' design requirement.

dashboard/.streamlit/config.toml content

[theme]

base = 'dark'

primaryColor = '#2E86AB'

backgroundColor = '#0F1117'

secondaryBackgroundColor = '#1E2130'

textColor = '#E8EAF0'

font = 'sans serif'

Light mode override values (when user toggles)

[theme]  base='light'  primaryColor='#1F4E8B'  backgroundColor='#FFFFFF'

secondaryBackgroundColor='#F0F4F8'  textColor='#1F2937'

Colour palette (use these consistently)

| Colour | Hex | Use for |  |
| --- | --- | --- | --- |
| Navy | #1F4E8B | Headers, primary accents (light mode) |  |
| Electric blue | #2E86AB | Primary interactive elements, charts |  |
| Teal | #1D9E75 | Success, SHACL passed, in-PI |  |
| Amber | #EF9F27 | GUM uncertainty bars, warnings |  |
| Red | #E24B4A | Anomalies, violations, HV Breakdown Tester |  |
| Purple | #7F77DD | AI/ML sections, novel contributions |  |

Creative element — instrument selector with live recalculation

- In Section 3 (ML predictions), add a Streamlit slider: 'Enter a new current/voltage value'

- When user moves slider → call model_bundle.pkl to predict ratio error for that value → show real-time GUM-formatted output below the chart

- This makes the dashboard interactive, not just a static report viewer

- Use st.slider for indicated value, st.selectbox for instrument type, st.metric for the live prediction result

Page layout

- Sidebar (fixed): logo placeholder (colored rectangle, NOT NPL logo), navigation radio, pipeline status, theme toggle

- Main area: 7 sections as Streamlit tabs (st.tabs) across the top

- Footer (every page): 'Made by Dia Vats · CSIR-NPL Internship 2026 · Supervisor: Dr. Paramita Guha'  styled in small muted text

- No NPL logo anywhere in the app

Data schemas — all CSV files

calibration_data.csv (primary — 31 rows, 4 instruments)

| Column | Type | Meaning |
| --- | --- | --- |
| cert_id | string | Certificate identifier |
| instrument | string | Instrument name |
| measurement_domain | string | current or voltage |
| indicated_value | float | Indicated/nominal value (A or kV) |
| measured_value | float | Actual measured value (A or kV) |
| coverage_factor_k | float | GUM coverage factor |
| expanded_uncertainty_pct | float | GUM expanded uncertainty U (%) |
| ratio_error_pct | float | (measured-indicated)/indicated × 100 |
| standard_uncertainty_pct | float | u = U/k (%) |
| range_position | float | Normalised position in instrument range (0–1) |

ml_results.csv

| Column | Type | Meaning |
| --- | --- | --- |
| ml_predicted_ratio_error_pct | float | Model predicted ratio error |
| conformal_lower/upper_95pct | float | 95% conformal prediction interval bounds |
| conformal_halfwidth_pct | float | PI half-width — the 'ML uncertainty' |
| gum_expanded_U_pct | float | Traditional GUM expanded uncertainty U |
| loo_residual_pct | float | Leave-one-out residual (how hard this point was) |

gnn_results.csv  |  autoencoder_results.csv

| Column | Type | Meaning |
| --- | --- | --- |
| gnn_anomaly_score | float | GNN reconstruction MSE — higher = more anomalous |
| gnn_is_anomaly | bool | True if score > 75th percentile threshold |
| ae_score | float | Autoencoder reconstruction MSE |
| ae_anomaly | bool | True if score > 75th percentile threshold |

multitask_results.csv

| Column | Type | Meaning |
| --- | --- | --- |
| mt_pred_ratio_error_pct | float | Task 1: predicted ratio error |
| mt_pred_nongaussian | int | Task 2: 1=non-Gaussian (k>2.0), 0=Gaussian |
| mt_pred_uncertainty_class | string | Task 3: low/medium/high uncertainty class |

Section specifications — 7 tabs

Tab 1 — Overview

- Title: 'Trustworthy AI · Electrical Metrology · CSIR-NPL'

- Animated hero: st.markdown with HTML — gradient header bar (#1F4E8B → #2E86AB) containing the title

- 4 metric cards (st.columns): Total calibration points (31), Instruments (4), KG triples (799), SHACL status (✓ Passed)

- Instrument summary table: for each of 4 instruments show: n points, RE range, domain, date

- Raw data viewer: st.dataframe of calibration_data.csv with st.download_button

Tab 2 — Knowledge graph

- Plotly network graph of the KG (hardcoded node positions — see coordinates below)

- Node colours: teal=entities/lab, purple=documents/events, amber=standards, blue=data points

- On hover over nodes: show full label and key property values

- Stats row: 799 triples, 4 ontologies (QUDT, PROV-O, SOSA, EMO), 6 instrument types in KG

- SHACL validation panel: read shacl_validation_report.txt → show green ✓ if 'conforms' in text, else red with violations

- st.expander 'Why SOSA?': explain that each CalibrationPoint is a sosa:Observation, standard is sosa:Sensor

Tab 3 — ML predictions + UQ (with live calculator)

- Plotly interactive chart: x=indicated_value, y=ratio_error_pct, colour by instrument

- Shaded band = 95% conformal prediction interval [conformal_lower, conformal_upper]

- Dashed line = ml_predicted_ratio_error_pct

- Annotate HV Breakdown Tester points with red markers, note '10–17% ratio error — anomaly zone'

- LIVE CALCULATOR (the creative element): st.sidebar or st.columns with:

  - st.selectbox: 'Select instrument'  (4 options)

  - st.slider: 'Indicated value' (range depends on instrument selection)

  - On change: load model_bundle.pkl, compute features, predict, show st.metric: 'Predicted ratio error: X.XXXX% ± Y.YYYY%'

  - Show st.code block with GUM-formatted output string

- ML results table: st.dataframe of ml_results.csv

Tab 4 — SHAP XAI analysis

- Show shap_analysis.png (pre-generated) + st.image caption

- Interactive bar chart (Plotly): mean |SHAP| per feature for each instrument separately

- Key finding callout (st.info): 'Domain and instrument type dominate SHAP importance — confirming that systematic instrument-level effects outweigh within-instrument current/voltage variation'

- SHAP values table: st.dataframe of shap_values.csv

- st.expander 'Physical interpretation': explain what each SHAP direction means metrologically

Tab 5 — Anomaly detection (GNN + Autoencoder)

- Split into two sub-columns: GNN results (left) | Autoencoder results (right)

- Left — GNN: show gnn_anomaly.png + anomaly score scatter chart (Plotly), red line at threshold

- Right — Autoencoder: show autoencoder_anomaly.png + ae_score chart

- Bottom: combined anomaly table — merge gnn_results + autoencoder_results, show points flagged by BOTH methods in red

- Finding callout: 'All 4 HV Breakdown Tester points flagged as anomalous by both methods independently — cross-method validation of the anomaly finding'

- GNN architecture info box (st.expander): explain GCN layers, adjacency matrix, bottleneck

Tab 6 — Multi-task neural network

- Show multitask_results.png (pre-generated)

- Results summary table (3 rows): Task 1 MAE, Task 2 accuracy, Task 3 accuracy

- Per-instrument breakdown: for each instrument show mean predicted ratio error vs true

- Uncertainty class distribution: Plotly stacked bar chart of predicted vs true classes per instrument

- Info box: 'Multi-task prediction: a single neural network pass gives metrologist all three answers — ratio error, distribution type, and uncertainty class'

Tab 7 — GUM comparison and validation

- Title: 'Paper Table 2 + Figure 3'

- Grouped bar chart: GUM U% vs Conformal PI width per calibration point, coloured by instrument

- Scatter plot: GUM half-width vs conformal half-width, red dashed agreement line

- GUM-formatted output table: for each point show 'RE = X% ± Y% (U, k≈2.0, 95%)'

- Key finding (st.warning in amber): 'Wide conformal PI (±7%) driven by HV Breakdown Tester outliers. This is a feature, not a bug — the framework correctly identifies the low-accuracy instrument as the anomaly source.'

- Download buttons: gum_comparison.csv, ml_results.csv

Sidebar and footer specification

Sidebar content

- Logo placeholder: a st.markdown colored rectangle (no image, no NPL logo)

st.markdown('<div style="background:linear-gradient(135deg,#1F4E8B,#2E86AB);padding:16px;border-radius:8px;text-align:center;color:white;font-weight:500;">CSIR-NPL<br>Electrical Metrology Lab</div>',unsafe_allow_html=True)

- Theme toggle: st.radio('Theme', ['🌙 Dark', '☀️ Light']) → write to st.session_state → reload config

- Pipeline status: check if each CSV exists → ✓ or ✗ per file

- 'Regenerate pipeline' button → subprocess.run(['python','run_all.py'])

Footer (every page)

st.markdown('---')

st.markdown('<p style="text-align:center;font-size:12px;color:gray;">Made by <strong>Dia Vats</strong> &nbsp;·&nbsp; CSIR-NPL Internship 2026 &nbsp;·&nbsp; Supervisor: Dr. Paramita Guha &nbsp;·&nbsp; Framework: KG + XAI + GUM-UQ + GNN</p>',unsafe_allow_html=True)

Technical requirements

Files to create (2 files only)

- dashboard/app.py — complete Streamlit application

- dashboard/.streamlit/config.toml — dark mode default theme config

Data loading pattern

ROOT = Path(__file__).parent.parent  # goes up from dashboard/ to project root

OUTPUTS = ROOT / 'outputs'

@st.cache_data

def load_all():

d = {}

for name in ['calibration_data','ml_results','gum_comparison',

'shap_values','gnn_results','autoencoder_results','multitask_results']:

try: d[name] = pd.read_csv(OUTPUTS / f'{name}.csv')

except: d[name] = None

return d

Live calculator — model loading

import joblib

@st.cache_resource

def load_model():

return joblib.load(OUTPUTS / 'model_bundle.pkl')

def predict_live(bundle, indicated, domain, instrument):

dm = {'current':0.0,'voltage':1.0}

im = {'AC High Current Source':0.0,'Clamp Meter':1/3,'HV Probe':2/3,'HV Breakdown Tester':1.0}

X = np.array([[indicated, dm[domain], im[instrument]]])

pred = bundle['model'].predict(X)[0]

return pred, bundle['q']   # prediction, PI half-width

KG network node positions for Tab 2

| Node label | x | y | Colour | Type |
| --- | --- | --- | --- | --- |
| National Standard | 0.50 | 1.00 | #1D9E75 | Teal |
| Curr. Comparator | 0.20 | 0.70 | #EF9F27 | Amber |
| Transfer Std. DMM | 0.80 | 0.70 | #EF9F27 | Amber |
| Calibration Event | 0.50 | 0.50 | #3C3489 | Purple |
| Env. Conditions | 0.88 | 0.50 | #EF9F27 | Amber |
| CSIR-NPL | 0.15 | 0.30 | #1D9E75 | Teal |
| Certificate | 0.50 | 0.30 | #3C3489 | Purple |
| Instrument (DUT) | 0.85 | 0.30 | #1D9E75 | Teal |
| Calibration Points (31) | 0.50 | 0.10 | #2E86AB | Blue |

How to run

# From inside the 'blackbox ai - npl' folder:

streamlit run dashboard/app.py

Dependencies (in requirements.txt already)

- streamlit==1.34.0  |  plotly==5.22.0  |  pandas==2.2.0  |  numpy==1.26.0  |  joblib==1.3.0

Made by Dia Vats · CSIR-NPL Internship 2026 · Supervisor: Dr. Paramita Guha · Feed to Antigravity to build dashboard/app.py